**22-03-2024 (Friday) From 18H00 - 06H00**

**10 Melrose Blvd - MV Substation**

4 High Chilled water pumps

4 High 1st

4 High 2nd

4 High 3rd - Penthouses 1,2,3, 4 and 5

3 Melrose Square 2nd

3 Melrose Square 2nd

3 Melrose Square 1st (301 -1A)

3 Melrose Square 1st (301 -1B)

18 Melrose Blvd 3rd

18 Melrose Blvd 2nd

18 Melrose Blvd 1st

18 Melrose Blvd GR

**African Pride Hotel - MV Substation**

T4845/1

DB - G H202

DB - PB H203

DG - G 24 Crescent – DB -AB-HR-Shop

**District Cooling - Transformer 4**

Chiller 8

**Sliding Gate - Transformer 2**

Normal C/O

Gen C/O

DB GB Server room 1

DB EF

Lift DB - GB Server room 01

DB QA1 Upper Retail

Taxi Rank

DB -PB2

DB BB - Galleria Lights

DB BB1

DB BB2

Blue Basement Retail

DB SNO

DB Telkom

**Piazza Transformer 1**

**Essential Power**

44 Melrose 1st Floor

11 Crescent 3rd Floor

ESS Restaurants

DB Pa 1

DB Ra 1

DB G

Nodal Room G

Telkom 1

Telkom 2

Cell 1

Cell 2

Cell 3

DB UB 1

**Piazza Transformer 3**

**Normal Power**

DB RR 2

11 Crescent RB

Mains 3

**Piazza Transformer 4**

**Normal Power**

DB OR 5

11 Crescent Ground

DB OR 4

Truworths

Sheshas

RR4

Solar

Main 4

Buzz Coupler

**23-03-2024 (Saturday) From 18H00 - 06H00**

**Piazza Transformer 5**

**Normal Power**

Mains 5

Buzz Coupler

**Essential Power**

34 Whiteley 4Th Floor

34 Whiteley 3rd Floor

37 High Street 1st Floor

**Piazza Transformer 2**

**Normal Power**

Mains 2

Buzz Coupler

DB OR 1

C/O Panel B

DB RR3

DB PP1

Solar

Main 1

**Essential Power**

44 Melrose 5th Floor

44 Melrose 4th Floor

44 Melrose 2nd Floor

44 Melrose 4th Floor

BNP Paribas Ups A

BNP Paribas Ups B

11 Crescent 4th Floor

11 Crescent 2nd Floor

11 Crescent 1st Floor

DB Umbrella

**Mini Sub A 5**

Oak Lane Apartments

**Substation A 3**

Oak Lane Apartments

3 Melrose