Areas that will be affected by LV, MV Maintenance on the 27-11-2024

African Pride Hotel - MV Substation

T4845/1

DB -G H202

DB-PB H203

DB-G 24 Crescent – DB -AB-HR-Shop

District Cooling - Transformer 4

Chiller 8

Sliding Gate - Transformer 2

Normal C/O

Gen C/O

DB GB Server room 1

DB EF

Lift DB – GB Server room 01

DB QA1 Upper Retail

Taxi Rank

DB -PB2

DB BB – Galleria Lights

DB BB1

DB BB2

Blue Basement Retail

DB SNO

DB Telkom

Mezzanine LV

LMR 4

LMR 9

Paul’s delivery area db. G10E

The Venue

DB -B1 D3/E

Control Room Lift

DB Lmr 9 Control Panel

DB B2 D2/E

DB B2 D3/E

Panel 2

30 Melrose 3rd

Cuisino (ex-plain & train)

DB – LMR 5

DB – Lmr 6

30 Melrose Lift

DB G10E Pauls delivery area (Pauls, Rodizio, Yamato)

34 Melrose Lift

Mr George roof extract fan

Mr George Restaurant

Old Town Italy Roof Top Fans

Trans alloys

Piazza E 3.1 LV Sub

Main tex 2

Main Buzz Coupler

DB OR 1 Retail

Feed Change Over

Main TX 1

DB RR3

DB PP1

Unknown

ESS

44Melrose 5th Floor

44 Melrose 3rd Floor

44 Melrose 2nd Floor

44 Melrose 4TH Floor

Bhp Baribas Ups A

Bhp Baribas Ups B

11 Crescent 4th Floor

11 Crescent 2nd Floor

11 Crescent 1st Floor

Umbrella DB PB

44 Melrose 1st Floor

11 Crescent 3rd Floor

Normal C/O

Gen C/O

Nodal Room GB

DB Telkom 1

DB Telkom 2

DB Restaurant Ess

DB -PA 1

DB – RA 1

DB -G

DB – CELL 1

DB – CELL 2

DB – CELL 3

DB UB

Restaurant Ess

- Grillhouse

- Roccomammas

- Mezzepoli

- Tasha’s

- Pizza e vino

- Piggale

Piazza E3.2 LV Sub

- Mains Switch

- Buss Coupler

- DB OR 5

- RR4

- Solar

- Main Breaker Tx 4

- Buss coupler

- DBRR2

- DB RB1

- DB OR3

- DB OR4

- Truworths

- Sheshas

Ess

- Normal C/O

- Gen C/O

- 34 Whiteley 2nd Floor

- 34 Whiteley 1st Floor

- 34 Whiteley 4th Floor

- 34 Whiteley 3rd Floor

- 37 High 1st Floor

- 37 High 2nd Floor

- 37 High 3rd Floor

- 37 High 4th Floor

- House of Elegance

Normal Change

- Gen C/0 1

- Spare

- DB PB 1

- DB RB 1

- DB BB4

- DB BB3

- DB D

- DB C

- DB D

- @ Home