**Area to be affected by Mv Maintenance**

**Marriot MV Sub**

Marriot Hotel

**Retail Mv Sub** **20h00 -06h00 5-12-2024**

Daytona

Paddle Court

Basements

**Resi MV Sub 20h00 -06h00 28-11-2024**

Residential Apartments

**39 Melrose Mv Sub 20h00 -06h00 (28-11-2024)**

Basements

GR = The Venue

1St Floor -Matasis

2nd =Astron

3rd = Glencore

4th = Glencore

5th = Worley

6th = Glencore

7th = South 32

**40 On Oak Normal**

Main From TX

MSP/A2/B

Spare

Spare

DB AC South (8.1)

DB AC North (8.2)

Blank

Blank

Normal C/O

**40 on Oak Essential**

Gen C/O

Db Boiler

Blank

DB PB4

DB RB3

DB RB4

DB -Nodal B

DB Fans 1

DB Water pump

DB Fans 2

DB Lift 3

DB Guard House

Spare

DB Telkom

Spare

DB Neotel

DB Lift 1

DB Fans 3

DB Urban Fabric Kiosk

Spare

DB OL 1

Spare

DB New Office west

Sketches storeroom.

DB Office South

DB Cell c

Spare

DB Mtn

Maintenance Village

DB Vodacom

Spare

**40 On Oak LV Residential**

Normal C/O

Gen C/O

DB U 59

DB U 58

DB -RES 5A

DB Res 1A

DB Res 3A