**3-12-2024 (Monday) From 20h00 -06h00**

**10 Melrose Blvd - MV Substation**

4 High Chilled water pumps

4 High 1st - Heavyweight group and clever content

4 High 2nd - LYT and Mardian Shipping

4 High 3rd - Penthouses 1,2,3 and Mahube & Emsg Capital

3 Melrose Square 2nd - LYT

3 Melrose Square 2nd - LYT

3 Melrose Square 1st (301 -1A) - Vacant

3 Melrose Square 1st (301 -1B) - Maersk (Essential Ocean Basket)

18 Melrose Blvd 3rd - Vacant

18 Melrose Blvd 2nd - Praxley and Seequent (Essential Ocean Basket)

18 Melrose Blvd 1st - African Premier Trading (Essential Ocean Basket)

18 Melrose Blvd GR - Preference Capital and Trade Link (Essential Ocean Basket)

**Stanlib com Lv Ess**

Mtn nodal room B3

DB – F Stanlib ground

23 Melrose Ground db. – E streetlights & cameras

Sub Fan

Basement Fan

Nodal Room F1

Sadv storeroom   B2

Tec Ex 23 Melrose 4th Floor

Sand spruit DB-1

Properque 34 Melrose Ground

23 Melrose Ground Tec Ex

Vent Fan DB/4 B1

Vent Fan DB/5 B1

Vent Fan DB/3 B1

23 Melrose Mastercard

10 Melrose B1

**10 High LV**

**Normal Power**

Brand folio Led Screen

Brand folio AC

10 High Grand OR6

**Ess Power**

10High Ground Ess

10 High 1st First Quantum

10 High 2nd Fist Quantum

10 High 3rd Aveng

DB PB 3

DB Telkom

DB AL 5

DB RB 2

10 High 4th Floor

DB Fans 1

DB AL 4

Nodal Room DB

Nodal Room DB

Fire & Ice lift Basement

Fire & Ice lift Basement

Fire & Ice Passage lift

Fire & Ice Passage lift

DB Fans 2

Hoist line shops.

10 High 5th Floor

Piazza Screen

Welding plug at Screen